Operator Training Checklist

Date :	Account/Laboratory/Facility Name
Phone #:	Facility Address
Operator Title	Operator Name Printed
Trainer Name Printed	Operator Signature
Installation Date
CLINITEK Status Serial Number	Trainer Signature
The Operator has demonstrated the following:
Successfully power up and power down the analyzer.
Identify touch screen and demonstrates touch key function.
Successfully navigate software including Run Screen, Main Screen, Options and Set Up Screens.
Demonstrate loading of printer or label paper roll.
Identify where reagent strips are loaded on feed table and placement of table insert for hCG cassette tests, if applicable.
Identify auto calibration strip on feed table.
Identify the location of Serial Number Plate.
Demonstrate the ability to process samples using random or sequence sample ID numbers.
Demonstrate entering Color and Clarity, if required.
Demonstrate the ability to process a single sample.
Demonstrate the ability to process a quality control sample.
Identify and/or set-up results using the flagged (out of range/abnormal).
Demonstrate recalling a patient result and QC result.
Can demonstrate the ability to contact Technical Assistance Center @ 1-877-229-3711 (13) (1)
Comments/Action:

© 2018 Siemens Healthcare Diagnostics

CLINITEK, CLINITEK Status+ are trademarks of, or licensed to, Siemens Healthcare Diagnostics Inc